## Slide 1: Chameleon Workflows
Version 1.11

## Slide 2: Three Workflows
Prepare Grids
  Freeze grids with protein samples
Clean Dispenser
  Perform extra cleaning to restore dispenser performance
  Additional cleaning options available
Retrieve Grids
  Retrieve any grids dropped in the glow discharge unit
chameleon workflows

## Slide 3: Workflow Overview
Retrieve Grids
Prepare Grids
Helium Sparge / Dispenser Setup / Test
Load Cryogens / Button / Grids
Glow / Characterize / Plunge
Clean / Dry
Clean Dispenser
Aspirate Sample / Test Dispenser
Clean / Dry
Select Mode
chameleon workflows

## Slide 4: Prepare Grids Workflow

## Slide 5: Freeze grids with protein samples
Helium Sparge
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Plunge
Accept / Reject
Next Grid
Test Dispenser
(with water)
Setup Dispenser
Dry Dispenser
Finished
Test Dispenser
(with sample)
Test Dispenser
(with water)
Remove Cryogens
Wicking Characterization
Clean Dispenser
Prepare grids workflow
optional step
Additional Glow Discharge
Setup
Prepare grids
Clean-up

## Slide 6: Helium Sparge
Degassed dispenser fluid is required
Helium gas is pumped into the dispenser fluid to remove dissolved gases
Prepare grids workflow

## Slide 7: Setup dispenser
Fill cleaning vial with methanol
System uses methanol and HPLC water to setup the dispenser
User should confirm vertical, unobstructed flow
Cleaning Vial
Prepare grids workflow

## Slide 8: Test dispenser
Water is used to ensure dispenser is performing well
Dispensing pattern should be vertical and consistent between each test dispense
Dispenser issues identified when dispensing water will be magnified when dispensing samples

## Slide 9: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Cryogen bowl is loaded into the instrument and filled with liquid nitrogen prior to condensing ethane
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished

## Slide 10: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Loading and naming of the grid storage button
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished

## Slide 11: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Loading grids into the system
Enter information about grids
  Minimum required: Batch ID and position in the grid box
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished

## Slide 12: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
User can specify the Current and Duration of internal glow discharge.
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished

## Slide 13: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Pipette sample into sample vial
Enter sample information e.g. protein name, size, concentration and buffer composition
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Sample Vial

## Slide 14: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Dispenser will aspirate sample from sample vial
Test the dispense with sample
Dispensing pattern will likely be different with sample than with water
The dispenses should be vertical and consistent. Use the Troubleshooting tab if needed.
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished

## Slide 15: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Two-stripe Dispense Mode
  Wicking characterization stripe
    To determine the appropriate wicking time for a particular grid and sample
  Plunge stripe
    To freeze grid based on the wicking time determined using the wicking characterization stripe

## Slide 16: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
One-stripe Dispense Mode
  Plunge stripe
    To freeze grid based on parameters determined using the two-stripe protocol

## Slide 17: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Based on the degree of wicking observed, decide whether to Accept Grid or Reject Grid

## Slide 18: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
If you decide to accept the grid, tweezers will put the grid into the button
Visually check the grid has been released into the button

## Slide 19: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Provide an assessment of the grid

## Slide 20: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Additional glow discharge can be applied to grids remaining in the glow discharger
Grid History flip out panel tracks and displays information on grids frozen in the current session to make scheduling additional glow discharge or planning for next grids easier.

## Slide 21: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Choose the next actions

## Slide 22: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
water
ChamClean
Dispenser will be automatically cleaned using ChamClean and water

## Slide 23: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
A water dispense is performed to check cleaning has restored dispenser performance
Check dispensing pattern is vertical and consistent
If needed, the cleaning procedure can be repeated

## Slide 24: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
The dispenser should be kept dry when not in use. A methanol backflush is used to dry the dispenser.
Methanol Vial

## Slide 25: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
The cryogen bowl and frozen grids can now be removed from the instrument
The cryogens should be disposed of in accordance with site health and safety guidelines
The cryogen bowl must not stay in the instrument while the cryogens evaporate, therefore the system will not allow the user to move past this screen until it has detected that the cryogen bowl has been removed.

## Slide 26: Prepare Grids Workflow
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
Setup Dispenser
Test Dispenser
(with water)
Load Cryogens
Place Grid Button
Load Grids
Glow Discharge
Load Sample
Wicking Characterization
Plunge
Accept/Reject
Next Grid
Clean Dispenser
Test Dispenser (with water)
Dry Dispenser
Test Dispenser (with sample)
Remove Cryogens
Helium Sparge
Additional Glow Discharge
Finished
The workflow is finished, and the application may now be safely closed
Session reports and videos can be generated, or a new session initiated
If finished, the humidifier supply bottle should be removed from the humidifier

## Slide 27: Clean Dispenser Workflow

## Slide 28: Clean Dispenser Workflow
Press Clean to perform additional dispenser cleaning to restore dispenser performance
Use Test Dispenser to perform water test dispenses to verify dispenser performance
The dispenser should be kept dry when not in use. Press Dry to perform a methanol backflush before finishing the workflow.

## Slide 29: Retrieve Grids Workflow

## Slide 30: Retrieve Grids Workflow
Doors will be unlocked and glow discharger will open the lid for user to manually remove dropped grids

## Slide 31: Summary

## Slide 32: Key Points
chameleon has 3 workflows:
  Prepare grids – plunge freeze with sample
  Clean dispenser – additional dispenser cleaning routines
  Retrieve grids – retrieve any grids dropped in the internal glow discharger
Dispenser:
  When dispensing water, the dispense should be vertical and consistent.
  Dispenser issues identified when dispensing water will be magnified when dispensing samples. Issues should be resolved before aspirating sample.
  The dispenser is retested after sample has been aspirated. The dispensing pattern will likely be different (less vertical and less consistent). This is expected and is okay.
  After cleaning, the dispenser is tested again to check that the dispenser condition has been restored. Issues should be resolved if found during this step.
  The dispenser needs to be kept dry when not in use.
Freezing:
  There are two dispense modes for freezing a grid: two-stripe and one-stripe.
Cryogens:
  Cryogens can be removed only after cleaning to comply with health and safety guidelines

## Slide 33: Quiz
What should a user look for when performing test dispenses with water?
  Droplets are vertical
  Positions of droplets remain consistent between multiple dispenses
  Droplets are rounded
  Spacing between each droplet is the same
Will dispense pattern observed with water be the same as with sample?
  Yes
  No
Which workflow should be used when the performance of the dispenser has deteriorated?
  Prepare Grids
  Clean Dispenser
At what point can I transfer my frozen grids from chameleon in order to clip them?
  Immediately after the last grid in the freezing session has been frozen on chameleon
  While the dispenser is being cleaned
  After dispenser cleaning is complete and the cryogen bowl has been removed from the chameleon
  After the software has been closed and the instrument is turned off

## Slide 34: Quiz
What should a user look for when performing test dispenses with water?
  Droplets are vertical
  Positions of droplets remain consistent between multiple dispenses
  Droplets are rounded
  Spacing between each droplet is the same
Will dispense pattern observed with water be the same as with sample?
  Yes
  No
Which workflow should be used when the performance of the dispenser has deteriorated?
  Prepare Grids
  Clean Dispenser
At what point can I transfer my frozen grids from chameleon in order to clip them?
  Immediately after the last grid in the freezing session has been frozen on chameleon
  While the dispenser is being cleaned
  After dispenser cleaning is complete and the cryogen bowl has been removed from the chameleon
  After the software has been closed and the instrument is turned off